## Sheet1
Sample ID | Sample Rack ID | Sample Rack Position | APU | APU Location | Test Type | Specimen Type | Operator ID at time of Order | Operator ID at time of Release | Assay Name | Assay Number | Assay Version | Final Result Value | Secondary Result | IC Response Value | Cellular Control Response | Max Ratio | Interpretation | Result Flags | Result Code | Dilution Name | Instrument Response Value | Date of Completion | Result Status | Transmission Status | Transmission Date / Time | Retrieve Date / Time | Archive Status | Archive Date/Time | System Serial Number | System Software Version | Message Code | Amp Kit Lot Number | Amp Kit Unit Number | Amp Kit Lot Expiration Date | Calibrator Lot Number | Calibration Date Time | Calibrator Lot Expiration Date | Sample Onboard Time | Initiation Date Time | Sample Prep Lot Number | Sample Prep Lot Expiration Date | Sample Prep Unit Number | Lysis Lot Number | Lysis Lot Expiration Date | Ethanol Lot Number | Ethanol Expiration Date | Vapor Barrier Lot Number | Vapor Barrier Lot Expiration Date | Diluent Lot Number | Diluent Lot Expiration Date | Auxiliary Sample Prep Lot Number | Auxiliary Sample Prep Unit Number(s) | Auxiliary Sample Prep Lot Expiration date | IRU Lot Number | Tip 1000 Lot Number | Tip 50 Lot Number | Comment | Control Master Set Lot | Control Master Set Lot Exp Date | Neg1 Control Lot Number | Neg1 Control Lot Expiration Date | Neg1 Sample ID | Neg1 Rack ID | Neg1 Position | Neg1 Result Value with Units | Neg1 Result Flags | Neg1 Message Code | Neg1 Date and Time of Completion | Pos1 Control Lot Number | Pos1 Control Lot Expiration Date | Pos1 Sample ID | Pos1 Rack ID | Pos1 Position | Pos1 Result Value with Units | Pos1 Result Flags | Pos1 Message Code | Pos1 Date and Time of Completion | Pos2 Control Lot Number | Pos2 Control Lot Expiration Date | Pos2 Sample ID | Pos2 Rack ID | Pos2 Position | Pos2 Result Value with Units | Pos2 Result Flags | Pos2 Message Code | Pos2 Date and Time of Completion | Assay / Target1 Name | Assay / Target2 Name | Assay / Target3 Name | Assay / Target4 Name | Assay / Target5 Name | Assay / Target6 Name | Target 1 Target Response | Target 2 Target Response | Target 3 Target Response | Target 4 Target Response | Target 5 Target Response | Target 6 Target Response | Target 1 Max Ratio | Target 2 Max Ratio | Target 3 Max Ratio | Target 4 Max Ratio | Target 5 Max Ratio | Target 6 Max Ratio | Target 1 Reported Result | Target 2 Reported Result | Target 3 Reported Result | Target 4 Reported Result | Target 5 Reported Result | Target 6 Reported Result | Target 1 Interpretation | Target 2 Interpretation | Target 3 Interpretation | Target 4 Interpretation | Target 5 Interpretation | Target 6 Interpretation
2504354118 | A075980 | 6 | 3 | 9 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 15.59 |  | 0.002 | Target Not Detected | FNC |  | UNDILUTED | -1.00 | 04.11.2025 07:00 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:06 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354120 | A075980 | 5 | 3 | 8 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 15.07 |  | 0.002 | Target Not Detected | FNC |  | UNDILUTED | -1.00 | 04.11.2025 07:00 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:06 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354202 | A075980 | 4 | 3 | 7 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 15.49 |  | 0.003 | Target Not Detected | FNC |  | UNDILUTED | -1.00 | 04.11.2025 07:00 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:06 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354204 | A075980 | 3 | 3 | 6 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 14.70 |  | 0.003 | Target Not Detected | FNC |  | UNDILUTED | -1.00 | 04.11.2025 07:00 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:06 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354206 | A075980 | 2 | 3 | 5 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 15.74 |  | 0.002 | Target Not Detected | FNC |  | UNDILUTED | -1.00 | 04.11.2025 07:00 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:06 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354208 | A075980 | 1 | 3 | 4 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 14.83 |  | 0.002 | Target Not Detected | FNC |  | UNDILUTED | -1.00 | 04.11.2025 06:59 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:06 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354309 | A096997 | 10 | 4 | 12 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | 3,530 Copies/mL |  | 14.23 |  | 0.362 |  | FNC |  | UNDILUTED | 22.90 | 04.11.2025 07:16 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:22 PM | 04.11.2025 05:22 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354311 | A096997 | 9 | 4 | 11 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | 1,234 Copies/mL |  | 15.32 |  | 0.296 |  | FNC |  | UNDILUTED | 23.88 | 04.11.2025 07:16 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:22 PM | 04.11.2025 05:22 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354313 | A096997 | 8 | 4 | 10 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | 846 Copies/mL |  | 14.81 |  | 0.295 |  | FNC |  | UNDILUTED | 24.18 | 04.11.2025 07:16 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:22 PM | 04.11.2025 05:22 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354315 | A096997 | 7 | 1 | 10 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | [8 empty] | UNDILUTED |  | 04.11.2025 11:45 AM | Exception |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 | 120 - Test errored due to an instrument stop | 399437 | 01574,00434 | 07.14.2026 11:59 PM |  |  |  | 04.11.2025 11:02 AM | 04.11.2025 11:18 AM | 404866 | 06.10.2026 11:59 PM | 01720,50730 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 | [36 empty] | HIV-DBS
2504354317 | A096997 | 6 | 4 | 9 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 15.35 |  | 0.254 | Target Not Detected | FNC |  | UNDILUTED | 25.79 | 04.11.2025 07:16 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:22 PM | 04.11.2025 05:22 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354319 | A096997 | 5 | 1 | 8 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | [8 empty] | UNDILUTED |  | 04.11.2025 11:45 AM | Exception |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 | 120 - Test errored due to an instrument stop | 399437 | 01574,00434 | 07.14.2026 11:59 PM |  |  |  | 04.11.2025 11:02 AM | 04.11.2025 11:18 AM | 404866 | 06.10.2026 11:59 PM | 01720,50730 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 | [36 empty] | HIV-DBS
2504354401 | A096997 | 4 | 4 | 7 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 15.03 |  | 0.148 | Target Not Detected | FNC |  | UNDILUTED | 26.82 | 04.11.2025 07:16 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:22 PM | 04.11.2025 05:22 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354403 | A096997 | 3 | 1 | 6 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | [8 empty] | UNDILUTED |  | 04.11.2025 11:45 AM | Exception |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 | 120 - Test errored due to an instrument stop | 399437 | 01574,00434 | 07.14.2026 11:59 PM |  |  |  | 04.11.2025 11:02 AM | 04.11.2025 11:18 AM | 404866 | 06.10.2026 11:59 PM | 01720,50730 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 | [36 empty] | HIV-DBS
2504354405 | A096997 | 2 | 1 | 5 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | [8 empty] | UNDILUTED |  | 04.11.2025 11:45 AM | Exception |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 | 120 - Test errored due to an instrument stop | 399437 | 01574,00434 | 07.14.2026 11:59 PM |  |  |  | 04.11.2025 11:02 AM | 04.11.2025 11:18 AM | 404866 | 06.10.2026 11:59 PM | 01720,50730 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 | [36 empty] | HIV-DBS
2504354407 | A096997 | 1 | 4 | 4 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | 770 Copies/mL |  | 14.62 |  | 0.241 |  | FNC |  | UNDILUTED | 24.25 | 04.11.2025 07:15 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:22 PM | 04.11.2025 05:22 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354410 | A075980 | 12 | 4 | 3 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | < 400 Copies/mL |  | 14.71 |  | 0.281 | Detected <LLOQ | FNC |  | UNDILUTED | 24.69 | 04.11.2025 07:15 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:22 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354412 | A075980 | 11 | 4 | 2 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 14.67 |  | 0.195 | Target Not Detected | FNC |  | UNDILUTED | 26.01 | 04.11.2025 07:15 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:22 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354414 | A075980 | 10 | 4 | 1 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 15.09 |  | 0.005 | Target Not Detected | FNC |  | UNDILUTED | -1.00 | 04.11.2025 07:15 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:22 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354416 | A075980 | 9 | 3 | 12 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 15.10 |  | 0.204 | Target Not Detected | FNC |  | UNDILUTED | 27.95 | 04.11.2025 07:00 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:06 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354418 | A075980 | 8 | 3 | 11 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 15.22 |  | 0.085 | Target Not Detected | FNC |  | UNDILUTED | 28.44 | 04.11.2025 07:00 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:06 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354420 | A075980 | 7 | 3 | 10 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 15.68 |  | 0.003 | Target Not Detected | FNC |  | UNDILUTED | -1.00 | 04.11.2025 07:00 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:06 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354513 | A096997 | 12 | 1 | 2 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 14.43 |  | 0.157 | Target Not Detected | FNC |  | UNDILUTED | 26.17 | 04.11.2025 07:31 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:22 PM | 04.11.2025 05:35 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504354515 | A096997 | 11 | 1 | 1 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 14.46 |  | 0.178 | Target Not Detected | FNC |  | UNDILUTED | 25.89 | 04.11.2025 07:31 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:22 PM | 04.11.2025 05:35 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361006 | A075982 | 1 | 2 | 4 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 14.90 |  | 0.199 | Target Not Detected | FNC |  | UNDILUTED | 26.05 | 04.11.2025 06:43 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 04:50 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361007 | A075982 | 2 | 2 | 5 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 15.41 |  | 0.176 | Target Not Detected | FNC |  | UNDILUTED | 26.39 | 04.11.2025 06:43 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 04:50 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361008 | A075982 | 3 | 2 | 6 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | < 400 Copies/mL |  | 14.60 |  | 0.215 | Detected <LLOQ | FNC |  | UNDILUTED | 25.17 | 04.11.2025 06:43 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 04:50 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361009 | A075982 | 4 | 2 | 7 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | < 400 Copies/mL |  | 14.95 |  | 0.287 | Detected <LLOQ | FNC |  | UNDILUTED | 24.67 | 04.11.2025 06:44 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 04:50 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361010 | A075982 | 5 | 2 | 8 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | < 400 Copies/mL |  | 14.96 |  | 0.241 | Detected <LLOQ | FNC |  | UNDILUTED | 25.34 | 04.11.2025 06:44 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 04:50 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361011 | A075982 | 6 | 2 | 9 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 15.00 |  | 0.128 | Target Not Detected | FNC |  | UNDILUTED | 28.02 | 04.11.2025 06:44 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 04:50 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361012 | A075982 | 7 | 2 | 10 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | < 400 Copies/mL |  | 14.97 |  | 0.329 | Detected <LLOQ | FNC |  | UNDILUTED | 24.67 | 04.11.2025 06:44 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 04:50 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361013 | A075982 | 8 | 2 | 11 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | 414 Copies/mL |  | 15.78 |  | 0.270 |  | FNC |  | UNDILUTED | 24.65 | 04.11.2025 06:44 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 04:50 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361014 | A075982 | 9 | 2 | 12 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 14.79 |  | 0.139 | Target Not Detected | FNC |  | UNDILUTED | 27.45 | 04.11.2025 06:44 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 04:50 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361015 | A075982 | 10 | 3 | 1 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | 26,763 Copies/mL |  | 15.03 |  | 0.401 |  | FNC |  | UNDILUTED | 20.70 | 04.11.2025 06:59 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:06 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361016 | A075982 | 11 | 3 | 2 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 14.90 |  | 0.027 | Target Not Detected | FNC |  | UNDILUTED | -1.00 | 04.11.2025 06:59 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:06 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361017 | A075982 | 12 | 3 | 3 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | < 400 Copies/mL |  | 15.27 |  | 0.182 | Detected <LLOQ | FNC |  | UNDILUTED | 25.33 | 04.11.2025 06:59 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:21 PM | 04.11.2025 05:06 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361107 | A096997 | 2 | 4 | 5 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | < 400 Copies/mL |  | 14.99 |  | 0.315 | Detected <LLOQ | FNC |  | UNDILUTED | 24.87 | 04.11.2025 07:15 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:22 PM | 04.11.2025 05:22 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361108 | A096997 | 3 | 4 | 6 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | < 400 Copies/mL |  | 14.47 |  | 0.309 | Detected <LLOQ | FNC |  | UNDILUTED | 25.35 | 04.11.2025 07:15 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:22 PM | 04.11.2025 05:22 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM
2504361109 | A096997 | 5 | 4 | 8 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | < 400 Copies/mL |  | 15.20 |  | 0.348 | Detected <LLOQ | FNC |  | UNDILUTED | 25.29 | 04.11.2025 07:16 PM | Completed |  |  |  | Archived | 04.13.2025 09:51 AM | M00906 | 1.8.0 |  | 399437 | 04002,02081 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:05 PM | 01.31.2026 11:59 PM | 04.11.2025 04:22 PM | 04.11.2025 05:22 PM | 404866 | 06.10.2026 11:59 PM | 00068,52227 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2934222 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 |  |  | 9219 - Negative control is reactive. | 04.11.2025 06:28 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,107 Copies/mL |  |  | 04.11.2025 06:28 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 78,343 Copies/mL |  |  | 04.11.2025 06:28 PM