## Sheet1
Sample ID | Sample Rack ID | Sample Rack Position | APU | APU Location | Test Type | Specimen Type | Operator ID at time of Order | Operator ID at time of Release | Assay Name | Assay Number | Assay Version | Final Result Value | Secondary Result | IC Response Value | Cellular Control Response | Max Ratio | Interpretation | Result Flags | Result Code | Dilution Name | Instrument Response Value | Date of Completion | Result Status | Transmission Status | Transmission Date / Time | Retrieve Date / Time | Archive Status | Archive Date/Time | System Serial Number | System Software Version | Message Code | Amp Kit Lot Number | Amp Kit Unit Number | Amp Kit Lot Expiration Date | Calibrator Lot Number | Calibration Date Time | Calibrator Lot Expiration Date | Sample Onboard Time | Initiation Date Time | Sample Prep Lot Number | Sample Prep Lot Expiration Date | Sample Prep Unit Number | Lysis Lot Number | Lysis Lot Expiration Date | Ethanol Lot Number | Ethanol Expiration Date | Vapor Barrier Lot Number | Vapor Barrier Lot Expiration Date | Diluent Lot Number | Diluent Lot Expiration Date | Auxiliary Sample Prep Lot Number | Auxiliary Sample Prep Unit Number(s) | Auxiliary Sample Prep Lot Expiration date | IRU Lot Number | Tip 1000 Lot Number | Tip 50 Lot Number | Comment | Control Master Set Lot | Control Master Set Lot Exp Date | Neg1 Control Lot Number | Neg1 Control Lot Expiration Date | Neg1 Sample ID | Neg1 Rack ID | Neg1 Position | Neg1 Result Value with Units | Neg1 Result Flags | Neg1 Message Code | Neg1 Date and Time of Completion | Pos1 Control Lot Number | Pos1 Control Lot Expiration Date | Pos1 Sample ID | Pos1 Rack ID | Pos1 Position | Pos1 Result Value with Units | Pos1 Result Flags | Pos1 Message Code | Pos1 Date and Time of Completion | Pos2 Control Lot Number | Pos2 Control Lot Expiration Date | Pos2 Sample ID | Pos2 Rack ID | Pos2 Position | Pos2 Result Value with Units | Pos2 Result Flags | Pos2 Message Code | Pos2 Date and Time of Completion | Assay / Target1 Name | Assay / Target2 Name | Assay / Target3 Name | Assay / Target4 Name | Assay / Target5 Name | Assay / Target6 Name | Target 1 Target Response | Target 2 Target Response | Target 3 Target Response | Target 4 Target Response | Target 5 Target Response | Target 6 Target Response | Target 1 Max Ratio | Target 2 Max Ratio | Target 3 Max Ratio | Target 4 Max Ratio | Target 5 Max Ratio | Target 6 Max Ratio | Target 1 Reported Result | Target 2 Reported Result | Target 3 Reported Result | Target 4 Reported Result | Target 5 Reported Result | Target 6 Reported Result | Target 1 Interpretation | Target 2 Interpretation | Target 3 Interpretation | Target 4 Interpretation | Target 5 Interpretation | Target 6 Interpretation
413128702 | A076017 | 10 | 1 | 10 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | < 20 Copies/mL |  | 15.61 |  | 0.131 | Detected <LLOQ |  |  | UNDILUTED | 29.27 | 04.13.2025 08:58 PM | Completed |  |  |  | Archived | 01.27.2025 09:09 PM | M00847 | 1.8.0 |  | 402019 | 449103774 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:47 PM | 01.31.2026 11:59 PM | 01.27.2025 05:34 PM | 01.27.2025 07:04 PM | 401171 | 03.22.2026 11:59 PM | 268652936 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A076049 | 2 | Not Detected |  |  | 01.27.2025 12:59 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A076049 | 4 | 845 Copies/mL |  |  | 01.27.2025 12:59 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A076049 | 6 | 65,817 Copies/mL |  |  | 01.27.2025 12:59 PM
2413141605 | A075980 | 1 | 2 | 1 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | 161 Copies/mL |  | 15.75 |  | 0.208 |  |  |  | UNDILUTED | 23.97 | 04.13.2025 08:58 PM | Completed |  |  |  | Archived | 02.20.2025 09:21 AM | M00833 | 1.8.0 |  | 402019 | 755002189 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:44 PM | 01.31.2026 11:59 PM | 02.19.2025 09:41 AM | 02.19.2025 09:57 AM | 401171 | 03.22.2026 11:59 PM | 161151923 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 2896772 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A076046 | 2 | Not Detected |  |  | 02.17.2025 02:39 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A076046 | 4 | 1,138 Copies/mL |  |  | 02.17.2025 02:39 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A076046 | 6 | 69,032 Copies/mL |  |  | 02.17.2025 02:39 PM
2413141634 | A075980 | 11 | 2 | 11 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | < 20 Copies/mL |  | 15 |  | 0.086 | Detected <LLOQ |  |  | UNDILUTED | 28.4 | 04.13.2025 08:58 PM | Completed |  |  |  | Archived | 02.20.2025 09:21 AM | M00833 | 1.8.0 |  | 402019 | 755002189 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:44 PM | 01.31.2026 11:59 PM | 02.19.2025 09:41 AM | 02.19.2025 09:57 AM | 401171 | 03.22.2026 11:59 PM | 161151923 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 2896772 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A076046 | 2 | Not Detected |  |  | 02.17.2025 02:39 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A076046 | 4 | 1,138 Copies/mL |  |  | 02.17.2025 02:39 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A076046 | 6 | 69,032 Copies/mL |  |  | 02.17.2025 02:39 PM
2413152062 | A096567 | 2 | 3 | 2 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | 88 Copies/mL |  | 15.37 |  | 0.217 |  |  |  | UNDILUTED | 24.71 | 04.13.2025 08:58 PM | Completed |  |  |  | Archived | 01.28.2025 08:58 AM | M00847 | 1.8.0 |  | 402019 | 449103774 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:47 PM | 01.31.2026 11:59 PM | 01.27.2025 05:35 PM | 01.27.2025 07:35 PM | 401171 | 03.22.2026 11:59 PM | 268652936 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A076049 | 2 | Not Detected |  |  | 01.27.2025 12:59 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A076049 | 4 | 845 Copies/mL |  |  | 01.27.2025 12:59 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A076049 | 6 | 65,817 Copies/mL |  |  | 01.27.2025 12:59 PM
2413172855 | A066904 | 2 | 4 | 2 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | Not Detected |  | 15.29 |  | 0.004 | Target Not Detected |  |  | UNDILUTED | -1 | 04.13.2025 08:58 PM | Completed |  |  |  | Archived | 01.23.2025 08:55 AM | M00858 | 1.8.0 |  | 402019 | 20802563 | 04.16.2026 11:59 PM | 399132 | 12.03.2024 12:37 PM | 01.31.2026 11:59 PM | 01.22.2025 10:55 PM | 01.23.2025 12:58 AM | 401171 | 03.22.2026 11:59 PM | 122551097 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 1947150 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A075767 | 2 | Not Detected |  |  | 01.22.2025 01:25 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A075767 | 4 | 1,788 Copies/mL |  |  | 01.22.2025 01:25 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A075767 | 6 | 92,483 Copies/mL |  |  | 01.22.2025 01:25 PM
2413172856 | A075768 | 10 | 3 | 10 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | 60 Copies/mL |  | 14.62 |  | 0.186 |  |  |  | UNDILUTED | 25.94 | 04.13.2025 08:58 PM | Completed |  |  |  | Archived | 01.30.2025 08:43 AM | M00858 | 1.8.0 |  | 402019 | 403601101 | 04.16.2026 11:59 PM | 399132 | 12.03.2024 12:37 PM | 01.31.2026 11:59 PM | 01.29.2025 02:13 PM | 01.29.2025 03:02 PM | 401171 | 03.22.2026 11:59 PM | 214653113 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.29.2025 01:28 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,008 Copies/mL |  |  | 01.29.2025 01:28 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 74,529 Copies/mL |  |  | 01.29.2025 01:29 PM
2413172857 | A075768 | 9 | 3 | 9 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | < 20 Copies/mL |  | 14.67 |  | 0.096 | Detected <LLOQ |  |  | UNDILUTED | 28.97 | 04.13.2025 08:58 PM | Completed |  |  |  | Archived | 01.30.2025 08:43 AM | M00858 | 1.8.0 |  | 402019 | 403601101 | 04.16.2026 11:59 PM | 399132 | 12.03.2024 12:37 PM | 01.31.2026 11:59 PM | 01.29.2025 02:13 PM | 01.29.2025 03:02 PM | 401171 | 03.22.2026 11:59 PM | 214653113 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.29.2025 01:28 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,008 Copies/mL |  |  | 01.29.2025 01:28 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 74,529 Copies/mL |  |  | 01.29.2025 01:29 PM
2413172862 | A075983 | 9 | 3 | 9 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | 31 Copies/mL |  | 15.82 |  | 0.3 |  |  |  | UNDILUTED | 26.32 | 04.13.2025 08:58 PM | Completed |  |  |  | Archived | 02.19.2025 09:08 AM | M00833 | 1.8.0 |  | 402019 | 755002189 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:44 PM | 01.31.2026 11:59 PM | 02.18.2025 11:26 PM | 02.19.2025 01:45 AM | 401171 | 03.22.2026 11:59 PM | 161151923 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 2896772 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A076046 | 2 | Not Detected |  |  | 02.17.2025 02:39 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A076046 | 4 | 1,138 Copies/mL |  |  | 02.17.2025 02:39 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A076046 | 6 | 69,032 Copies/mL |  |  | 02.17.2025 02:39 PM
2413172864 | A075983 | 10 | 3 | 10 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | < 20 Copies/mL |  | 15.58 |  | 0.135 | Detected <LLOQ |  |  | UNDILUTED | 27.73 | 04.13.2025 08:58 PM | Completed |  |  |  | Archived | 02.19.2025 09:08 AM | M00833 | 1.8.0 |  | 402019 | 755002189 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:44 PM | 01.31.2026 11:59 PM | 02.18.2025 11:26 PM | 02.19.2025 01:45 AM | 401171 | 03.22.2026 11:59 PM | 161151923 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 2896772 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A076046 | 2 | Not Detected |  |  | 02.17.2025 02:39 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A076046 | 4 | 1,138 Copies/mL |  |  | 02.17.2025 02:39 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A076046 | 6 | 69,032 Copies/mL |  |  | 02.17.2025 02:39 PM
2413172865 | A075983 | 6 | 3 | 6 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | < 20 Copies/mL |  | 15.29 |  | 0.091 | Detected <LLOQ |  |  | UNDILUTED | 28.48 | 04.13.2025 08:58 PM | Completed |  |  |  | Archived | 02.19.2025 09:08 AM | M00833 | 1.8.0 |  | 402019 | 755002189 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:44 PM | 01.31.2026 11:59 PM | 02.18.2025 11:26 PM | 02.19.2025 01:45 AM | 401171 | 03.22.2026 11:59 PM | 161151923 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 2896772 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A076046 | 2 | Not Detected |  |  | 02.17.2025 02:39 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A076046 | 4 | 1,138 Copies/mL |  |  | 02.17.2025 02:39 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A076046 | 6 | 69,032 Copies/mL |  |  | 02.17.2025 02:39 PM
2413172866 | A075983 | 11 | 3 | 11 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | < 20 Copies/mL |  | 15.28 |  | 0.108 | Detected <LLOQ |  |  | UNDILUTED | 28.17 | 04.13.2025 08:58 PM | Completed |  |  |  | Archived | 02.19.2025 09:08 AM | M00833 | 1.8.0 |  | 402019 | 755002189 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:44 PM | 01.31.2026 11:59 PM | 02.18.2025 11:26 PM | 02.19.2025 01:45 AM | 401171 | 03.22.2026 11:59 PM | 161151923 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 2896772 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A076046 | 2 | Not Detected |  |  | 02.17.2025 02:39 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A076046 | 4 | 1,138 Copies/mL |  |  | 02.17.2025 02:39 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A076046 | 6 | 69,032 Copies/mL |  |  | 02.17.2025 02:39 PM
2413172875 | A076009 | 8 | 4 | 8 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | 31 Copies/mL |  | 15.25 |  | 0.275 |  |  |  | UNDILUTED | 26.33 | 04.13.2025 08:58 PM | Completed |  |  |  | Archived | 02.19.2025 09:08 AM | M00833 | 1.8.0 |  | 402019 | 755002189 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:44 PM | 01.31.2026 11:59 PM | 02.18.2025 11:26 PM | 02.19.2025 02:01 AM | 401171 | 03.22.2026 11:59 PM | 161151923 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 2896772 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A076046 | 2 | Not Detected |  |  | 02.17.2025 02:39 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A076046 | 4 | 1,138 Copies/mL |  |  | 02.17.2025 02:39 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A076046 | 6 | 69,032 Copies/mL |  |  | 02.17.2025 02:39 PM