## Sheet1
Sample ID | Sample Rack ID | Sample Rack Position | APU | APU Location | Test Type | Specimen Type | Operator ID at time of Order | Operator ID at time of Release | Assay Name | Assay Number | Assay Version | Final Result Value | Secondary Result | IC Response Value | Cellular Control Response | Max Ratio | Interpretation | Result Flags | Result Code | Dilution Name | Instrument Response Value | Date of Completion | Result Status | Transmission Status | Transmission Date / Time | Retrieve Date / Time | Archive Status | Archive Date/Time | System Serial Number | System Software Version | Message Code | Amp Kit Lot Number | Amp Kit Unit Number | Amp Kit Lot Expiration Date | Calibrator Lot Number | Calibration Date Time | Calibrator Lot Expiration Date | Sample Onboard Time | Initiation Date Time | Sample Prep Lot Number | Sample Prep Lot Expiration Date | Sample Prep Unit Number | Lysis Lot Number | Lysis Lot Expiration Date | Ethanol Lot Number | Ethanol Expiration Date | Vapor Barrier Lot Number | Vapor Barrier Lot Expiration Date | Diluent Lot Number | Diluent Lot Expiration Date | Auxiliary Sample Prep Lot Number | Auxiliary Sample Prep Unit Number(s) | Auxiliary Sample Prep Lot Expiration date | IRU Lot Number | Tip 1000 Lot Number | Tip 50 Lot Number | Comment | Control Master Set Lot | Control Master Set Lot Exp Date | Neg1 Control Lot Number | Neg1 Control Lot Expiration Date | Neg1 Sample ID | Neg1 Rack ID | Neg1 Position | Neg1 Result Value with Units | Neg1 Result Flags | Neg1 Message Code | Neg1 Date and Time of Completion | Pos1 Control Lot Number | Pos1 Control Lot Expiration Date | Pos1 Sample ID | Pos1 Rack ID | Pos1 Position | Pos1 Result Value with Units | Pos1 Result Flags | Pos1 Message Code | Pos1 Date and Time of Completion | Pos2 Control Lot Number | Pos2 Control Lot Expiration Date | Pos2 Sample ID | Pos2 Rack ID | Pos2 Position | Pos2 Result Value with Units | Pos2 Result Flags | Pos2 Message Code | Pos2 Date and Time of Completion | Assay / Target1 Name | Assay / Target2 Name | Assay / Target3 Name | Assay / Target4 Name | Assay / Target5 Name | Assay / Target6 Name | Target 1 Target Response | Target 2 Target Response | Target 3 Target Response | Target 4 Target Response | Target 5 Target Response | Target 6 Target Response | Target 1 Max Ratio | Target 2 Max Ratio | Target 3 Max Ratio | Target 4 Max Ratio | Target 5 Max Ratio | Target 6 Max Ratio | Target 1 Reported Result | Target 2 Reported Result | Target 3 Reported Result | Target 4 Reported Result | Target 5 Reported Result | Target 6 Reported Result | Target 1 Interpretation | Target 2 Interpretation | Target 3 Interpretation | Target 4 Interpretation | Target 5 Interpretation | Target 6 Interpretation
2501207540 | A075879 | 4 | 2 | 4 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | < 20 Copies/mL |  | 15.31 |  | 0.109 | Detected <LLOQ |  |  | UNDILUTED | 29.01 | 04.13.2025 04:46 PM | Completed |  |  |  | Archived | 01.22.2025 12:34 AM | M00846 | 1.8.0 |  | 402019 | 616402225 | 04.16.2026 11:59 PM | 385333 | 12.03.2024 12:43 PM | 02.24.2025 11:59 PM | 01.21.2025 01:54 PM | 01.21.2025 02:52 PM | 401171 | 03.22.2026 11:59 PM | 157053012 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.20.2025 12:28 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 453 Copies/mL |  |  | 01.20.2025 12:28 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 63,292 Copies/mL |  |  | 01.20.2025 12:28 PM
2501214182 | A076010 | 1 | 3 | 1 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | 151 Copies/mL |  | 15.09 |  | 0.309 |  |  |  | UNDILUTED | 24.56 | 04.13.2025 04:46 PM | Completed |  |  |  | Archived | 01.30.2025 08:43 AM | M00858 | 1.8.0 |  | 402019 | 401801087 | 04.16.2026 11:59 PM | 399132 | 12.03.2024 12:37 PM | 01.31.2026 11:59 PM | 01.29.2025 02:16 PM | 01.29.2025 04:06 PM | 401171 | 03.22.2026 11:59 PM | 167052035 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.29.2025 01:28 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,008 Copies/mL |  |  | 01.29.2025 01:28 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 74,529 Copies/mL |  |  | 01.29.2025 01:29 PM
2501214181 | A076045 | 12 | 2 | 12 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | < 20 Copies/mL |  | 14.87 |  | 0.127 | Detected <LLOQ |  |  | UNDILUTED | 29.35 | 04.13.2025 04:46 PM | Completed |  |  |  | Archived | 01.30.2025 08:43 AM | M00858 | 1.8.0 |  | 402019 | 401801087 | 04.16.2026 11:59 PM | 399132 | 12.03.2024 12:37 PM | 01.31.2026 11:59 PM | 01.29.2025 02:15 PM | 01.29.2025 03:50 PM | 401171 | 03.22.2026 11:59 PM | 167052035 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.29.2025 01:28 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,008 Copies/mL |  |  | 01.29.2025 01:28 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 74,529 Copies/mL |  |  | 01.29.2025 01:29 PM
2501214164 | A096569 | 8 | 1 | 8 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | Not Detected |  | 15.57 |  | 0.004 | Target Not Detected |  |  | UNDILUTED | -1 | 04.13.2025 04:46 PM | Completed |  |  |  | Archived | 01.30.2025 08:43 AM | M00858 | 1.8.0 |  | 402019 | 403601101 | 04.16.2026 11:59 PM | 399132 | 12.03.2024 12:37 PM | 01.31.2026 11:59 PM | 01.29.2025 02:15 PM | 01.29.2025 03:34 PM | 401171 | 03.22.2026 11:59 PM | 214653113 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.29.2025 01:28 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,008 Copies/mL |  |  | 01.29.2025 01:28 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 74,529 Copies/mL |  |  | 01.29.2025 01:29 PM
2501214159 | A096569 | 3 | 1 | 3 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | 21 Copies/mL |  | 15.21 |  | 0.11 |  |  |  | UNDILUTED | 27.47 | 04.13.2025 04:46 PM | Completed |  |  |  | Archived | 01.30.2025 08:43 AM | M00858 | 1.8.0 |  | 402019 | 403601101 | 04.16.2026 11:59 PM | 399132 | 12.03.2024 12:37 PM | 01.31.2026 11:59 PM | 01.29.2025 02:15 PM | 01.29.2025 03:34 PM | 401171 | 03.22.2026 11:59 PM | 214653113 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.29.2025 01:28 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,008 Copies/mL |  |  | 01.29.2025 01:28 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 74,529 Copies/mL |  |  | 01.29.2025 01:29 PM
2501214160 | A096569 | 4 | 1 | 4 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | < 20 Copies/mL |  | 15.29 |  | 0.077 | Detected <LLOQ |  |  | UNDILUTED | 28.54 | 04.13.2025 04:46 PM | Completed |  |  |  | Archived | 01.30.2025 08:43 AM | M00858 | 1.8.0 |  | 402019 | 403601101 | 04.16.2026 11:59 PM | 399132 | 12.03.2024 12:37 PM | 01.31.2026 11:59 PM | 01.29.2025 02:15 PM | 01.29.2025 03:34 PM | 401171 | 03.22.2026 11:59 PM | 214653113 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.29.2025 01:28 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,008 Copies/mL |  |  | 01.29.2025 01:28 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 74,529 Copies/mL |  |  | 01.29.2025 01:29 PM
2501214161 | A096569 | 5 | 1 | 5 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | < 20 Copies/mL |  | 14.94 |  | 0.101 | Detected <LLOQ |  |  | UNDILUTED | 28.27 | 04.13.2025 04:46 PM | Completed |  |  |  | Archived | 01.30.2025 08:43 AM | M00858 | 1.8.0 |  | 402019 | 403601101 | 04.16.2026 11:59 PM | 399132 | 12.03.2024 12:37 PM | 01.31.2026 11:59 PM | 01.29.2025 02:15 PM | 01.29.2025 03:34 PM | 401171 | 03.22.2026 11:59 PM | 214653113 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.29.2025 01:28 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,008 Copies/mL |  |  | 01.29.2025 01:28 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 74,529 Copies/mL |  |  | 01.29.2025 01:29 PM
2501214162 | A096569 | 6 | 1 | 6 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | Not Detected |  | 14.67 |  | 0.004 | Target Not Detected |  |  | UNDILUTED | -1 | 04.13.2025 04:46 PM | Completed |  |  |  | Archived | 01.30.2025 08:43 AM | M00858 | 1.8.0 |  | 402019 | 403601101 | 04.16.2026 11:59 PM | 399132 | 12.03.2024 12:37 PM | 01.31.2026 11:59 PM | 01.29.2025 02:15 PM | 01.29.2025 03:34 PM | 401171 | 03.22.2026 11:59 PM | 214653113 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.29.2025 01:28 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,008 Copies/mL |  |  | 01.29.2025 01:28 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 74,529 Copies/mL |  |  | 01.29.2025 01:29 PM
2501214163 | A096569 | 7 | 1 | 7 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | 51 Copies/mL |  | 15.09 |  | 0.286 |  |  |  | UNDILUTED | 26.18 | 04.13.2025 04:46 PM | Completed |  |  |  | Archived | 01.30.2025 08:43 AM | M00858 | 1.8.0 |  | 402019 | 403601101 | 04.16.2026 11:59 PM | 399132 | 12.03.2024 12:37 PM | 01.31.2026 11:59 PM | 01.29.2025 02:15 PM | 01.29.2025 03:34 PM | 401171 | 03.22.2026 11:59 PM | 214653113 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.29.2025 01:28 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,008 Copies/mL |  |  | 01.29.2025 01:28 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 74,529 Copies/mL |  |  | 01.29.2025 01:29 PM
2501214151 | A075768 | 7 | 3 | 7 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | 104 Copies/mL |  | 15.49 |  | 0.175 |  |  |  | UNDILUTED | 25.12 | 04.13.2025 04:46 PM | Completed |  |  |  | Archived | 01.30.2025 08:43 AM | M00858 | 1.8.0 |  | 402019 | 403601101 | 04.16.2026 11:59 PM | 399132 | 12.03.2024 12:37 PM | 01.31.2026 11:59 PM | 01.29.2025 02:13 PM | 01.29.2025 03:02 PM | 401171 | 03.22.2026 11:59 PM | 214653113 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.29.2025 01:28 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,008 Copies/mL |  |  | 01.29.2025 01:28 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 74,529 Copies/mL |  |  | 01.29.2025 01:29 PM