## Sheet1
Sample ID | Sample Rack ID | Sample Rack Position | APU | APU Location | Test Type | Specimen Type | Operator ID at time of Order | Operator ID at time of Release | Assay Name | Assay Number | Assay Version | Final Result Value | Secondary Result | IC Response Value | Cellular Control Response | Max Ratio | Interpretation | Result Flags | Result Code | Dilution Name | Instrument Response Value | Date of Completion | Result Status | Transmission Status | Transmission Date / Time | Retrieve Date / Time | Archive Status | Archive Date/Time | System Serial Number | System Software Version | Message Code | Amp Kit Lot Number | Amp Kit Unit Number | Amp Kit Lot Expiration Date | Calibrator Lot Number | Calibration Date Time | Calibrator Lot Expiration Date | Sample Onboard Time | Initiation Date Time | Sample Prep Lot Number | Sample Prep Lot Expiration Date | Sample Prep Unit Number | Lysis Lot Number | Lysis Lot Expiration Date | Ethanol Lot Number | Ethanol Expiration Date | Vapor Barrier Lot Number | Vapor Barrier Lot Expiration Date | Diluent Lot Number | Diluent Lot Expiration Date | Auxiliary Sample Prep Lot Number | Auxiliary Sample Prep Unit Number(s) | Auxiliary Sample Prep Lot Expiration date | IRU Lot Number | Tip 1000 Lot Number | Tip 50 Lot Number | Comment | Control Master Set Lot | Control Master Set Lot Exp Date | Neg1 Control Lot Number | Neg1 Control Lot Expiration Date | Neg1 Sample ID | Neg1 Rack ID | Neg1 Position | Neg1 Result Value with Units | Neg1 Result Flags | Neg1 Message Code | Neg1 Date and Time of Completion | Pos1 Control Lot Number | Pos1 Control Lot Expiration Date | Pos1 Sample ID | Pos1 Rack ID | Pos1 Position | Pos1 Result Value with Units | Pos1 Result Flags | Pos1 Message Code | Pos1 Date and Time of Completion | Pos2 Control Lot Number | Pos2 Control Lot Expiration Date | Pos2 Sample ID | Pos2 Rack ID | Pos2 Position | Pos2 Result Value with Units | Pos2 Result Flags | Pos2 Message Code | Pos2 Date and Time of Completion | Assay / Target1 Name | Assay / Target2 Name | Assay / Target3 Name | Assay / Target4 Name | Assay / Target5 Name | Assay / Target6 Name | Target 1 Target Response | Target 2 Target Response | Target 3 Target Response | Target 4 Target Response | Target 5 Target Response | Target 6 Target Response | Target 1 Max Ratio | Target 2 Max Ratio | Target 3 Max Ratio | Target 4 Max Ratio | Target 5 Max Ratio | Target 6 Max Ratio | Target 1 Reported Result | Target 2 Reported Result | Target 3 Reported Result | Target 4 Reported Result | Target 5 Reported Result | Target 6 Reported Result | Target 1 Interpretation | Target 2 Interpretation | Target 3 Interpretation | Target 4 Interpretation | Target 5 Interpretation | Target 6 Interpretation
413128702 | A076017 | 10 | 1 | 10 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | < 20 Copies/mL |  | 15.61 |  | 0.131 | Detected <LLOQ |  |  | UNDILUTED | 29.27 | 01.27.2025 08:58 PM | Completed |  |  |  | Archived | 01.27.2025 09:09 PM | M00847 | 1.8.0 |  | 402019 | 449103774 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:47 PM | 01.31.2026 11:59 PM | 01.27.2025 05:34 PM | 01.27.2025 07:04 PM | 401171 | 03.22.2026 11:59 PM | 268652936 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A076049 | 2 | Not Detected |  |  | 01.27.2025 12:59 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A076049 | 4 | 845 Copies/mL |  |  | 01.27.2025 12:59 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A076049 | 6 | 65,817 Copies/mL |  |  | 01.27.2025 12:59 PM
ACI/ | A096988 | 1 | 2 | 2 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | 24 Copies/mL |  | 15.05 |  | 0.171 |  |  |  | UNDILUTED | 26.37 | 01.15.2025 02:01 AM | Completed |  |  |  | Archived | 01.15.2025 08:59 AM | M00906 | 1.8.0 |  | 402019 | 745501833 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:56 PM | 01.31.2026 11:59 PM | 01.14.2025 10:44 PM | 01.15.2025 12:07 AM | 401171 | 03.22.2026 11:59 PM | 128352506 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 1947150 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.13.2025 01:29 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,011 Copies/mL |  |  | 01.13.2025 01:29 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 57,465 Copies/mL |  |  | 01.13.2025 01:29 PM
2413183£)) | A096570 | 7 | 1 | 7 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | < 20 Copies/mL |  | 15.21 |  | 0.07 | Detected <LLOQ |  |  | UNDILUTED | 30.78 | 01.29.2025 06:37 AM | Completed |  |  |  | Archived | 01.29.2025 08:48 AM | M00847 | 1.8.0 |  | 402019 | 709500262 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:47 PM | 01.31.2026 11:59 PM | 01.29.2025 03:10 AM | 01.29.2025 04:43 AM | 401171 | 03.22.2026 11:59 PM | 267652941 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A076049 | 2 | Not Detected |  |  | 01.27.2025 12:59 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A076049 | 4 | 845 Copies/mL |  |  | 01.27.2025 12:59 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A076049 | 6 | 65,817 Copies/mL |  |  | 01.27.2025 12:59 PM
24131*$@)( | A075882 | 8 | 3 | 11 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | Not Detected |  | 15.23 |  | 0.004 | Target Not Detected |  |  | UNDILUTED | -1 | 01.30.2025 02:36 AM | Completed |  |  |  | Archived | 01.30.2025 08:38 AM | M01028 | 1.8.0 |  | 402019 | 743202670 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:55 PM | 01.31.2026 11:59 PM | 01.29.2025 11:24 PM | 01.30.2025 12:42 AM | 401171 | 03.22.2026 11:59 PM | 270452911 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A075766 | 2 | Not Detected |  |  | 01.29.2025 01:21 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A075766 | 4 | 929 Copies/mL |  |  | 01.29.2025 01:21 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A075766 | 6 | 83,252 Copies/mL |  |  | 01.29.2025 01:21 PM
24132245^& | A076020 | 12 | 1 | 3 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | Not Detected |  | 15.05 |  | 0.001 | Target Not Detected |  |  | UNDILUTED | -1 | 02.12.2025 05:06 PM | Completed |  |  |  | Archived | 02.13.2025 08:50 AM | M00846 | 1.8.0 |  | 402019 | 520102172 | 04.16.2026 11:59 PM | 385333 | 12.03.2024 12:43 PM | 02.24.2025 11:59 PM | 02.12.2025 01:10 PM | 02.12.2025 03:12 PM | 401171 | 03.22.2026 11:59 PM | 39451001 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 02.12.2025 01:22 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 598 Copies/mL |  |  | 02.12.2025 01:23 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 65,225 Copies/mL |  |  | 02.12.2025 01:23 PM
241323444% | A075772 | 10 | 3 | 1 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | Not Detected |  | 15.58 |  | 0.009 | Target Not Detected |  |  | UNDILUTED | -1 | 01.30.2025 03:40 AM | Completed |  |  |  | Archived | 01.30.2025 08:38 AM | M01028 | 1.8.0 |  | 402019 | 775900552 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:55 PM | 01.31.2026 11:59 PM | 01.29.2025 11:26 PM | 01.30.2025 01:46 AM | 401171 | 03.22.2026 11:59 PM | 270452911 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A075766 | 2 | Not Detected |  |  | 01.29.2025 01:21 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A075766 | 4 | 929 Copies/mL |  |  | 01.29.2025 01:21 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A075766 | 6 | 83,252 Copies/mL |  |  | 01.29.2025 01:21 PM
24132245^& | A075772 | 10 | 3 | 1 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | Not Detected |  | 15.58 |  | 0.009 | Target Not Detected |  |  | UNDILUTED | -1 | 01.30.2025 03:40 AM | Completed |  |  |  | Archived | 01.30.2025 08:38 AM | M01028 | 1.8.0 |  | 402019 | 775900552 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:55 PM | 01.31.2026 11:59 PM | 01.29.2025 11:26 PM | 01.30.2025 01:46 AM | 401171 | 03.22.2026 11:59 PM | 270452911 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 801209 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A075766 | 2 | Not Detected |  |  | 01.29.2025 01:21 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A075766 | 4 | 929 Copies/mL |  |  | 01.29.2025 01:21 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A075766 | 6 | 83,252 Copies/mL |  |  | 01.29.2025 01:21 PM
2413183£)) | A096988 | 1 | 2 | 2 | Specimen | Plasma | Admin |  | HIV-1 | 1006 | 6 | 506 Copies/mL |  | 15.05 |  | 0.171 |  |  |  | UNDILUTED | 26.37 | 01.15.2025 02:01 AM | Completed |  |  |  | Archived | 01.15.2025 08:59 AM | M00906 | 1.8.0 |  | 402019 | 745501833 | 04.16.2026 11:59 PM | 399132 | 12.02.2024 02:56 PM | 01.31.2026 11:59 PM | 01.14.2025 10:44 PM | 01.15.2025 12:07 AM | 401171 | 03.22.2026 11:59 PM | 128352506 | 990020107 | 04.09.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020104 | 04.04.2026 11:59 PM |  |  |  | 1947150 |  |  |  | 387178 | 03.28.2025 11:59 PM | 388992 | 03.28.2025 11:59 PM | HIV-1 NEG CTRL | A096987 | 2 | Not Detected |  |  | 01.13.2025 01:29 PM | 388983 | 03.29.2025 11:59 PM | HIV-1 LOW POS CTRL | A096987 | 4 | 1,011 Copies/mL |  |  | 01.13.2025 01:29 PM | 388988 | 03.29.2025 11:59 PM | HIV-1 HIGH POS CTRL | A096987 | 6 | 57,465 Copies/mL |  |  | 01.13.2025 01:29 PM