## Sheet1
Sample ID | Sample Rack ID | Sample Rack Position | APU | APU Location | Test Type | Specimen Type | Operator ID at time of Order | Operator ID at time of Release | Assay Name | Assay Number | Assay Version | Final Result Value | Secondary Result | IC Response Value | Cellular Control Response | Max Ratio | Interpretation | Result Flags | Result Code | Dilution Name | Instrument Response Value | Date of Completion | Result Status | Transmission Status | Transmission Date / Time | Retrieve Date / Time | Archive Status | Archive Date/Time | System Serial Number | System Software Version | Message Code | Amp Kit Lot Number | Amp Kit Unit Number | Amp Kit Lot Expiration Date | Calibrator Lot Number | Calibration Date Time | Calibrator Lot Expiration Date | Sample Onboard Time | Initiation Date Time | Sample Prep Lot Number | Sample Prep Lot Expiration Date | Sample Prep Unit Number | Lysis Lot Number | Lysis Lot Expiration Date | Ethanol Lot Number | Ethanol Expiration Date | Vapor Barrier Lot Number | Vapor Barrier Lot Expiration Date | Diluent Lot Number | Diluent Lot Expiration Date | Auxiliary Sample Prep Lot Number | Auxiliary Sample Prep Unit Number(s) | Auxiliary Sample Prep Lot Expiration date | IRU Lot Number | Tip 1000 Lot Number | Tip 50 Lot Number | Comment | Control Master Set Lot | Control Master Set Lot Exp Date | Neg1 Control Lot Number | Neg1 Control Lot Expiration Date | Neg1 Sample ID | Neg1 Rack ID | Neg1 Position | Neg1 Result Value with Units | Neg1 Result Flags | Neg1 Message Code | Neg1 Date and Time of Completion | Pos1 Control Lot Number | Pos1 Control Lot Expiration Date | Pos1 Sample ID | Pos1 Rack ID | Pos1 Position | Pos1 Result Value with Units | Pos1 Result Flags | Pos1 Message Code | Pos1 Date and Time of Completion | Pos2 Control Lot Number | Pos2 Control Lot Expiration Date | Pos2 Sample ID | Pos2 Rack ID | Pos2 Position | Pos2 Result Value with Units | Pos2 Result Flags | Pos2 Message Code | Pos2 Date and Time of Completion | Assay / Target1 Name | Assay / Target2 Name | Assay / Target3 Name | Assay / Target4 Name | Assay / Target5 Name | Assay / Target6 Name | Target 1 Target Response | Target 2 Target Response | Target 3 Target Response | Target 4 Target Response | Target 5 Target Response | Target 6 Target Response | Target 1 Max Ratio | Target 2 Max Ratio | Target 3 Max Ratio | Target 4 Max Ratio | Target 5 Max Ratio | Target 6 Max Ratio | Target 1 Reported Result | Target 2 Reported Result | Target 3 Reported Result | Target 4 Reported Result | Target 5 Reported Result | Target 6 Reported Result | Target 1 Interpretation | Target 2 Interpretation | Target 3 Interpretation | Target 4 Interpretation | Target 5 Interpretation | Target 6 Interpretation
2414026415 | A038943 | 9 | 3 | 10 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 14.86 |  | 0.207 | Target Not Detected |  |  | UNDILUTED | 26.26 | 04.11.2025 04:35 AM | Completed |  |  |  | Archived | 04.11.2025 10:31 AM | M01027 | 1.8.0 |  | 399437 | 03550,00607 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:28 PM | 01.31.2026 11:59 PM | 04.10.2025 11:49 PM | 04.11.2025 02:41 AM | 404866 | 06.10.2026 11:59 PM | 01629,50337 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2847870 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A075775 | 2 | Not Detected |  |  | 04.09.2025 12:52 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A075775 | 4 | 982 Copies/mL |  |  | 04.09.2025 12:52 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A075775 | 6 | 81,909 Copies/mL |  |  | 04.09.2025 12:52 PM
2414026411 | A038943 | 10 | 3 | 11 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 14.11 |  | 0.157 | Target Not Detected |  |  | UNDILUTED | 27.26 | 04.11.2025 04:35 AM | Completed |  |  |  | Archived | 04.11.2025 10:31 AM | M01027 | 1.8.0 |  | 399437 | 03550,00607 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:28 PM | 01.31.2026 11:59 PM | 04.10.2025 11:49 PM | 04.11.2025 02:41 AM | 404866 | 06.10.2026 11:59 PM | 01629,50337 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2847870 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A075775 | 2 | Not Detected |  |  | 04.09.2025 12:52 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A075775 | 4 | 982 Copies/mL |  |  | 04.09.2025 12:52 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A075775 | 6 | 81,909 Copies/mL |  |  | 04.09.2025 12:52 PM
2414026412 | A038943 | 11 | 3 | 12 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | 247,722 Copies/mL |  | 14.84 |  | 0.459 |  |  |  | UNDILUTED | 18.20 | 04.11.2025 04:35 AM | Completed |  |  |  | Archived | 04.11.2025 10:31 AM | M01027 | 1.8.0 |  | 399437 | 03550,00607 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:28 PM | 01.31.2026 11:59 PM | 04.10.2025 11:49 PM | 04.11.2025 02:41 AM | 404866 | 06.10.2026 11:59 PM | 01629,50337 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2847870 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A075775 | 2 | Not Detected |  |  | 04.09.2025 12:52 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A075775 | 4 | 982 Copies/mL |  |  | 04.09.2025 12:52 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A075775 | 6 | 81,909 Copies/mL |  |  | 04.09.2025 12:52 PM
2414026417 | A038943 | 12 | 4 | 1 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 14.61 |  | 0.003 | Target Not Detected |  |  | UNDILUTED | -1.00 | 04.11.2025 04:50 AM | Completed |  |  |  | Archived | 04.11.2025 10:31 AM | M01027 | 1.8.0 |  | 399437 | 03550,00607 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:28 PM | 01.31.2026 11:59 PM | 04.10.2025 11:49 PM | 04.11.2025 02:54 AM | 404866 | 06.10.2026 11:59 PM | 01629,50337 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2847870 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A075775 | 2 | Not Detected |  |  | 04.09.2025 12:52 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A075775 | 4 | 982 Copies/mL |  |  | 04.09.2025 12:52 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A075775 | 6 | 81,909 Copies/mL |  |  | 04.09.2025 12:52 PM
2414026421 | A038851 | 1 | 4 | 2 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | 447 Copies/mL |  | 14.84 |  | 0.181 |  |  |  | UNDILUTED | 24.85 | 04.11.2025 03:47 AM | Completed |  |  |  | Archived | 04.11.2025 10:31 AM | M01027 | 1.8.0 |  | 399437 | 02742,00472 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:28 PM | 01.31.2026 11:59 PM | 04.10.2025 11:48 PM | 04.11.2025 01:54 AM | 404866 | 06.10.2026 11:59 PM | 01629,50337 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2847870 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A075775 | 2 | Not Detected |  |  | 04.09.2025 12:52 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A075775 | 4 | 982 Copies/mL |  |  | 04.09.2025 12:52 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A075775 | 6 | 81,909 Copies/mL |  |  | 04.09.2025 12:52 PM
2414026418 | A038851 | 2 | 4 | 3 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 14.58 |  | 0.133 | Target Not Detected |  |  | UNDILUTED | 26.92 | 04.11.2025 03:47 AM | Completed |  |  |  | Archived | 04.11.2025 10:31 AM | M01027 | 1.8.0 |  | 399437 | 02742,00472 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:28 PM | 01.31.2026 11:59 PM | 04.10.2025 11:48 PM | 04.11.2025 01:54 AM | 404866 | 06.10.2026 11:59 PM | 01629,50337 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2847870 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A075775 | 2 | Not Detected |  |  | 04.09.2025 12:52 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A075775 | 4 | 982 Copies/mL |  |  | 04.09.2025 12:52 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A075775 | 6 | 81,909 Copies/mL |  |  | 04.09.2025 12:52 PM
2414026398 | A038851 | 3 | 4 | 4 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | Not Detected |  | 14.48 |  | 0.138 | Target Not Detected |  |  | UNDILUTED | 26.49 | 04.11.2025 03:47 AM | Completed |  |  |  | Archived | 04.11.2025 10:31 AM | M01027 | 1.8.0 |  | 399437 | 02742,00472 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:28 PM | 01.31.2026 11:59 PM | 04.10.2025 11:48 PM | 04.11.2025 01:54 AM | 404866 | 06.10.2026 11:59 PM | 01629,50337 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2847870 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A075775 | 2 | Not Detected |  |  | 04.09.2025 12:52 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A075775 | 4 | 982 Copies/mL |  |  | 04.09.2025 12:52 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A075775 | 6 | 81,909 Copies/mL |  |  | 04.09.2025 12:52 PM
2414026400 | A038851 | 4 | 4 | 5 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | 5,041 Copies/mL |  | 14.55 |  | 0.280 |  |  |  | UNDILUTED | 22.73 | 04.11.2025 03:47 AM | Completed |  |  |  | Archived | 04.11.2025 10:31 AM | M01027 | 1.8.0 |  | 399437 | 02742,00472 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:28 PM | 01.31.2026 11:59 PM | 04.10.2025 11:48 PM | 04.11.2025 01:54 AM | 404866 | 06.10.2026 11:59 PM | 01629,50337 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2847870 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A075775 | 2 | Not Detected |  |  | 04.09.2025 12:52 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A075775 | 4 | 982 Copies/mL |  |  | 04.09.2025 12:52 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A075775 | 6 | 81,909 Copies/mL |  |  | 04.09.2025 12:52 PM
2414026426 | A038851 | 5 | 4 | 6 | Specimen | Dried Blood Spot | Admin |  | HIV-DBS | 6200 | 1.00 | < 400 Copies/mL |  | 15.07 |  | 0.250 | Detected <LLOQ |  |  | UNDILUTED | 25.46 | 04.11.2025 03:47 AM | Completed |  |  |  | Archived | 04.11.2025 10:31 AM | M01027 | 1.8.0 |  | 399437 | 02742,00472 | 07.14.2026 11:59 PM | 399132 | 04.03.2025 04:28 PM | 01.31.2026 11:59 PM | 04.10.2025 11:48 PM | 04.11.2025 01:54 AM | 404866 | 06.10.2026 11:59 PM | 01629,50337 | 990020149 | 08.06.2026 11:59 PM |  |  | 2471612 | 03.12.2026 11:59 PM | 990020127 | 06.03.2026 11:59 PM |  |  |  | 2847870 |  |  |  | 401574 | 04.10.2026 11:59 PM | 401572 | 04.10.2026 11:59 PM | HIV-1 NEG CTRL | A075775 | 2 | Not Detected |  |  | 04.09.2025 12:52 PM | 401584 | 04.15.2026 11:59 PM | HIV-1 LOW POS CTRL | A075775 | 4 | 982 Copies/mL |  |  | 04.09.2025 12:52 PM | 401579 | 04.15.2026 11:59 PM | HIV-1 HIGH POS CTRL | A075775 | 6 | 81,909 Copies/mL |  |  | 04.09.2025 12:52 PM

## Sheet2
Facility Ref | Form Number | Lab Ref
2414026415 | 2414026415 | 2504362801
2414026411 | 2414026411 | 2504362802
2414026412 | 2414026412 | 2504362803
2414026417 | 2414026417 | 2504362804
2414026421 | 2414026421 | 2504362805
2414026418 | 2414026418 | 2504362806
2414026398 | 2414026398 | 2504362807
2414026400 | 2414026400 | 2504362808
2414026426 | 2414026426 | 2504362809